## tests_7-12-18
|  | Sample | Sample ID | Sample Weight [mg] | Weight [mg] | Weight [mg] | Weight [%] | Weight [%] | Carbon Response Ratio | Carbon Response Ratio | Carbon Weight Ratio | Carbon Weight Ratio
[5 empty] | Nitrogen | Carbon | Nitrogen | Carbon | Nitrogen | Carbon | Nitrogen | Carbon | N_adj | position | pos | N |  | N_meas = 10.484 -.0166*position
_7_12_2018 10_35_15 AM_1 | Colibrick - 1 | bypass |  | 0 | 0.001 | 0.002 | 46.944 | 53.056 | 0.299 | 1 | 1.13 | 1 |  |  | 0 | 10.3935 | 10.3935 | N_meas = N_act + z*N_act*p
_7_12_2018 10_40_46 AM_2 | Colibrick - 1 | bypass |  | 0 | 0.001 | 0.002 | 27.054 | 72.946 | 0.251 | 1 | 2.696 | 1 |  |  | 13 | 10.438 |  | N_meas = N_act(1+z*p)
Calib\_7_12_2018 11_15_52 AM_3 | Colibrick - 1 | std 1 |  | 0.828 | 0.084 | 0.584 | 10.175 | 70.565 | 0.058 | 1 | 6.935 | 1 |  |  | 31 | 9.869 |  | N_act = N_meas/(1+z*p)
Calib\_7_12_2018 11_21_23 AM_4 | Colibrick - 1 | std 2 |  | 0.298 | 0.032 | 0.214 | 10.634 | 71.796 | 0.062 | 1 | 6.752 | 1 |  |  | 43 | 9.791 |  | N_act = N_meas/(1+(-.0166/10.484)*p)
Calib\_7_12_2018 11_26_55 AM_5 | Colibrick - 1 | std 3 |  | 1.974 | 0.207 | 1.411 | 10.463 | 71.46 | 0.059 | 1 | 6.83 | 1 | [5 empty] | very small correction
Calib\_7_12_2018 11_31_57 AM_6 | Colibrick - 1 | std 4 |  | 2.266 | 0.233 | 1.606 | 10.302 | 70.867 | 0.059 | 1 | 6.879 | 1 | 10.302 | 0
_7_12_2018 11_39_57 AM_7 | Colibrick - 1 | Eu.E2.Ee1.1.0-10.16 |  | 26.908 | 0.033 | 0.489 | 0.121 | 1.819 | 0.028 | 1 | 15 | 1 | 0.12119 | 1
_7_12_2018 11_44_58 AM_8 | Colibrick - 1 | BO.P.1.60-100.16 |  | 26.553 | 0.019 | 0.155 | 0.07 | 0.585 | 0.053 | 1 | 8.297 | 1 | 0.070222 | 2
_7_12_2018 11_50_00 AM_9 | Colibrick - 1 | It.E1.Ee1.2.0-10.16 |  | 27.258 | 0.07 | 1.558 | 0.255 | 5.714 | 0.019 | 1 | 22.374 | 1 | 0.25622 | 3
_7_12_2018 11_55_01 AM_10 | Colibrick - 1 | JP.E1.L.4.0-10.16 |  | 27.555 | 0.014 | 0.228 | 0.049 | 0.826 | 0.028 | 1 | 16.692 | 1 | 0.049312 | 4
_7_12_2018 12_00_02 PM_11 | Colibrick - 1 | JP.E1.Ee1.2.0-10.16 |  | 27.765 | 0.02 | 0.394 | 0.07 | 1.42 | 0.022 | 1 | 20.152 | 1 | 0.070559 | 5
_7_12_2018 12_11_45 PM_12 | Colibrick - 1 | Eu.E1.Ee2.1.0-10.16 |  | 27.529 | 0.052 | 0.72 | 0.19 | 2.617 | 0.03 | 1 | 13.802 | 1 | 0.19182 | 6
_7_12_2018 12_16_47 PM_13 | Colibrick - 1 | Eu.E1.Ee1.4.0-10.16 |  | 29.374 | 0.033 | 0.4 | 0.113 | 1.361 | 0.035 | 1 | 12.019 | 1 | 0.11427 | 7
_7_12_2018 12_21_48 PM_14 | Colibrick - 1 | Eu.E1.Ee1.3.0-10.16 |  | 25.795 | 0.042 | 0.614 | 0.162 | 2.38 | 0.029 | 1 | 14.648 | 1 | 0.16408 | 8
_7_12_2018 12_26_49 PM_15 | Colibrick - 1 | Eu.E1.Ee1.2.0-10.16 |  | 25.813 | 0.047 | 0.659 | 0.184 | 2.552 | 0.03 | 1 | 13.909 | 1 | 0.18666 | 9
_7_12_2018 12_31_51 PM_16 | Colibrick - 1 | Eu.E1.Ee1.1.0-10.16 |  | 29.979 | 0.056 | 0.806 | 0.188 | 2.69 | 0.029 | 1 | 14.299 | 1 | 0.19102 | 10
_7_12_2018 12_36_52 PM_17 | Colibrick - 1 | Eu.E1.T.4.0-10.16 |  | 27.714 | 0.041 | 0.533 | 0.148 | 1.922 | 0.032 | 1 | 12.991 | 1 | 0.15062 | 11
_7_12_2018 12_41_53 PM_18 | Colibrick - 1 | blank |  | 27 | 0.002 | N/A | 0.008 | N/A | 1.291 | 1 | ??? | ??? | 0.0081549 | 12
_7_12_2018 12_46_55 PM_19 | Colibrick - 1 | std 5 |  | 1.287 | 0.134 | 0.916 | 10.438 | 71.205 | 0.059 | 1 | 6.822 | 1 | 10.6574 | 13
_7_12_2018 12_51_56 PM_20 | Colibrick - 1 | JP.E1.1.0-10.04 |  | 27.664 | 0.015 | 0.244 | 0.056 | 0.881 | 0.029 | 1 | 15.775 | 1 | 0.057269 | 14
_7_12_2018 12_56_58 PM_21 | Colibrick - 1 | JP.E1.4.60-100.04 |  | 26.853 | 0.007 | 0.095 | 0.027 | 0.353 | 0.042 | 1 | 13.103 | 1 | 0.027657 | 15
_7_12_2018 1_02_00 PM_22 | Colibrick - 1 | JP.N.4.10-20.16 |  | 26.52 | 0.012 | 0.125 | 0.046 | 0.471 | 0.046 | 1 | 10.266 | 1 | 0.047196 | 16
_7_12_2018 1_07_01 PM_23 | Colibrick - 1 | JP.N.1.60-100.04 |  | 27.714 | 0.006 | 0.067 | 0.02 | 0.242 | 0.049 | 1 | 11.788 | 1 | 0.020553 | 17
_7_12_2018 1_12_03 PM_24 | Colibrick - 1 | BO.P.4.60-100.04 |  | 27.316 | 0.017 | 0.171 | 0.062 | 0.626 | 0.045 | 1 | 10.066 | 1 | 0.063819 | 18
_7_12_2018 1_17_05 PM_25 | Colibrick - 1 | BO.P.1.20-40.04 |  | 27.478 | 0.026 | 0.309 | 0.096 | 1.124 | 0.037 | 1 | 11.676 | 1 | 0.098978 | 19
_7_12_2018 1_22_06 PM_26 | Colibrick - 1 | It.N.1.10-20.16 |  | 27.839 | 0.11 | 1.86 | 0.394 | 6.68 | 0.025 | 1 | 16.956 | 1 | 0.40688 | 20
_7_12_2018 1_27_08 PM_27 | Colibrick - 1 | It.N.2.10-20.16 |  | 27.656 | 0.121 | 2.022 | 0.438 | 7.311 | 0.025 | 1 | 16.694 | 1 | 0.45306 | 21
_7_12_2018 1_32_10 PM_28 | Colibrick - 1 | It.N.3.10-20.16 |  | 27.842 | 0.131 | 2.224 | 0.471 | 7.987 | 0.025 | 1 | 16.947 | 1 | 0.488 | 22
_7_12_2018 1_38_12 PM_29 | Colibrick - 1 | It.N.4.10-20.16 |  | 27.517 | 0.122 | 2.099 | 0.443 | 7.629 | 0.025 | 1 | 17.21 | 1 | 0.45974 | 23
_7_12_2018 1_44_14 PM_30 | Colibrick - 1 | It.N.2.0-10.16 |  | 27.059 | 0.13 | 2.115 | 0.481 | 7.817 | 0.026 | 1 | 16.242 | 1 | 0.5 | 24
_7_12_2018 1_50_16 PM_31 | Colibrick - 1 | It.N.4.0-10.16 |  | 27.841 | 0.138 | 2.334 | 0.497 | 8.383 | 0.025 | 1 | 16.872 | 1 | 0.51748 | 25
_7_12_2018 1_56_18 PM_32 | Colibrick - 1 | Eu.N.4.60-100.04 |  | 27.902 | 0.009 | 0.248 | 0.032 | 0.89 | 0.019 | 1 | 27.412 | 1 | 0.033374 | 26
_7_12_2018 2_02_20 PM_33 | Colibrick - 1 | Eu.N.1.0-10.04 |  | 26.719 | 0.034 | 0.579 | 0.126 | 2.167 | 0.025 | 1 | 17.218 | 1 | 0.13163 | 27
_7_12_2018 2_08_22 PM_34 | Colibrick - 1 | Eu.E1.E60.4.0-10.04 |  | 27.007 | 0.041 | 1.027 | 0.151 | 3.803 | 0.017 | 1 | 25.184 | 1 | 0.15801 | 28
_7_12_2018 2_14_24 PM_35 | Colibrick - 1 | Eu.E1.E30.1.0-10.04 |  | 27.546 | 0.031 | 0.628 | 0.112 | 2.28 | 0.021 | 1 | 20.365 | 1 | 0.11739 | 29
_7_12_2018 2_20_26 PM_36 | Colibrick - 1 | Eu.E1.4.60-100.04 |  | 28.012 | 0.01 | 0.145 | 0.036 | 0.516 | 0.035 | 1 | 14.438 | 1 | 0.037795 | 30
_7_12_2018 2_25_28 PM_37 | Colibrick - 1 | std 6 |  | 0.935 | 0.092 | 0.67 | 9.869 | 71.658 | 0.055 | 1 | 7.261 | 1 | 10.3784 | 31
_7_12_2018 2_30_30 PM_38 | Colibrick - 1 | blank |  | 27 | N/A | N/A | N/A | N/A | 0.535 | 1 | ??? | ??? |  | 32
_7_12_2018 2_35_32 PM_39 | Colibrick - 1 | JP.E1.2.60-100.16 |  | 25.694 | 0.006 | 0.132 | 0.025 | 0.514 | 0.028 | 1 | 20.573 | 1 | 0.026378 | 33
_7_12_2018 2_40_34 PM_40 | Colibrick - 1 | JP.E1.1.60-100.16 |  | 27.628 | 0.003 | 0.107 | 0.012 | 0.388 | 0.024 | 1 | 31.725 | 1 | 0.012683 | 34
_7_12_2018 2_45_36 PM_41 | Colibrick - 1 | JP.E1.2.40-60.16 |  | 28.592 | 0.005 | 0.136 | 0.019 | 0.474 | 0.024 | 1 | 25.313 | 1 | 0.020115 | 35
_7_12_2018 2_50_38 PM_42 | Colibrick - 1 | JP.E1.4.40-60.16 |  | 26.64 | 0.006 | 0.101 | 0.023 | 0.38 | 0.035 | 1 | 16.772 | 1 | 0.02439 | 36
_7_12_2018 2_55_40 PM_43 | Colibrick - 1 | JP.E1.3.40-60.16 |  | 28.861 | 0.005 | 0.105 | 0.017 | 0.364 | 0.03 | 1 | 21.281 | 1 | 0.018058 | 37
_7_12_2018 3_00_42 PM_44 | Colibrick - 1 | JP.E1.1.40-60.16 |  | 27.322 | 0.006 | 0.166 | 0.023 | 0.608 | 0.022 | 1 | 26.24 | 1 | 0.024472 | 38
_7_12_2018 3_05_44 PM_45 | Colibrick - 1 | JP.E1.4.20-40.16 |  | 27.549 | 0.007 | 0.136 | 0.024 | 0.494 | 0.028 | 1 | 20.339 | 1 | 0.02558 | 39
_7_12_2018 3_10_45 PM_46 | Colibrick - 1 | JP.E1.3.20-40.16 |  | 25.477 | 0.007 | 0.162 | 0.026 | 0.637 | 0.023 | 1 | 24.718 | 1 | 0.027758 | 40
_7_12_2018 3_15_47 PM_47 | Colibrick - 1 | JP.E1.2.20-40.16 |  | 26.594 | 0.006 | 0.156 | 0.023 | 0.588 | 0.023 | 1 | 25.44 | 1 | 0.024597 | 41
_7_12_2018 3_20_49 PM_48 | Colibrick - 1 | JP.E1.1.20-40.16 |  | 26.474 | 0.005 | 0.137 | 0.02 | 0.517 | 0.024 | 1 | 25.969 | 1 | 0.021425 | 42
_7_12_2018 3_25_51 PM_49 | Colibrick - 1 | std 7 |  | 1.419 | 0.139 | 1.002 | 9.791 | 70.638 | 0.056 | 1 | 7.214 | 1 | 10.5063 | 43